## Concept A
Account | Title | Total Cost (USD) | Factory Equipment Cost | Site Labor Hours | Site Labor Cost | Site Material Cost
10 | Capitalized Pre-Construction Costs | 162925273.0408
11 | Land & Land Rights | 15000000
12 | Site Permits | 1598891
13 | Plant Licensing | 107009771.987
14 | Plant Permits | 36194481.7015
15 | Plant Studies | 36194481.7015
16 | Plant Reports | 11339168.691
18 | Other Pre-Construction Costs | 36194481.7015
10s - Subtotal
10s - $/kWe
20 | Capitalized Direct Costs | 4200597497.1488 | 2700810072.1167 | 23099589.559 | 1195036607.7683 | 304750817.2638
21 | Structures & Improvements | 914902741.8258 | 90263521.112 | 11824706.1671 | 591583080.946 | 233056139.7678
212 | Reactor Containment Building | 413396747.7312 | 65728880.2451 | 5420558.4805 | 264358228.1282 | 83309639.3579
213 | Turbine Room and Heater Bay | 15257054.8201 | 1136504.8428 | 163947.4218 | 8458991.2256 | 5661558.7517
211 plus 214 to 219 | Othe Structures & Improvements | 486248939.2744 | 23398136.0241 | 6240200.2649 | 318765861.5921 | 144084941.6582
22 | Reactor System | 1813536677.8191 | 1530752484.1327 | 4903887.6954 | 261886915.355 | 20897278.3314
23 | Energy Conversion System | 665574715.5139 | 534245006.4122 | 2364645.3204 | 125502354.282 | 5827354.8197
232.1 | Electricity Generation Systems | 576019409.4786 | 486396295.4221 | 1682189.4884 | 89623114.0565 | 0
233 | Ultimate Heat Sink | 89555306.0353 | 47848710.99 | 682455.832 | 35879240.2256 | 5827354.8197
24 | Electrical Equipment | 140508400.491 | 28461247.418 | 1597897.0415 | 86126547.2517 | 25920605.8213
25 | Initial fuel inventory | 451686470.5748 | 451686470.5748
26 | Miscellaneous Equipment | 214388490.9241 | 65401342.467 | 2408453.3345 | 129937709.9336 | 19049438.5235
28 | Simulator | 78200
20s - Subtotal
20s - $/kWe
30 | Capitalized Indirect Services Costs | 4289253930.8441
31 | Factory & Field Indirect Costs | 691371059.4821
32 | Factory and construction supervision | 2734393138.1498
33 | Start-Up Costs | 115036083.4365
34 | Shipping & Transportation Costs | 9686167.0585
35 | Engineering Services | 738767482.7172
30s - Subtotal
30s - $/kWe
50 | Capitalized Supplementary Costs | 12149693.1426
51 | Taxes | 187500
52 | Insurance | 3820433.1426
54 | Decommissioning | 8141760
50s - Subtotal
50s - $/kWe
60 | Capitalized Financial Costs
62 | Interest | 592300800
60s - Subtotal
60s - $/kWe
Total Direct Capital Cost (Accounts 10 to 20)
(Accounts 10 to 20) US$/kWe
Base Construction Cost (Accounts 10 to 30)
(Accounts 10 to 30) US$/kWe
Total Overnight Cost (Accounts 10 to 50)
(Accounts 10 to 50) US$/kWe
Total Capital Investment Cost (All Accounts)
(Accounts 10 to 60) US$/kWe
Total Overnight Cost - ITC reduced
Total Overnight Cost -ITC reduced (US$/kWe)
Total Capital Investment Cost - ITC reduced
Total Capital Investment Cost - ITC reduced (US$/kWe)

## Concept B
Account | Title | Total Cost (USD) | Factory Equipment Cost | Site Labor Hours | Site Labor Cost | Site Material Cost
10 | Capitalized Pre-Construction Costs
11 | Land & Land Rights | 11000000
12 | Site Permits | 1598891
13 | Plant Licensing | 24382988
14 | Plant Permits | 12679167
15 | Plant Studies | 12679167
16 | Plant Reports | 3972186
18 | Other Pre-Construction Costs | 12679167
| 10s - Subtotal | 78991565
| 10s - $/kWe | 254
20 | Capitalized Direct Costs
21 | Structures & Improvements | 244678343 | 64350801 | 2899407 | 145691462 | 34636081
212 | Reactor Containment Building | 145108928 | 57583605 | 1605670 | 81082169 | 6443153
213 | Turbine Room and Heater Bay | 9518418 | 620964 | 102399 | 5280509 | 3616945
211 plus 214 to 219 | Othe Structures & Improvements | 90050998 | 6146232 | 1191337 | 59328783 | 24575983
22 | Reactor System | 661334797 | 559862844 | 1809704 | 97213739 | 4258215
23 | Energy Conversion System | 238844021 | 189802947 | 874096 | 46348086 | 2692988
232.1 | Electricity Generation Systems | 197558121 | 167738159 | 559709 | 29819961 | 0
233 | Ultimate Heat Sink | 41285901 | 22064788 | 314387 | 16528125 | 2692988
24 | Electrical Equipment | 67451645 | 13662941 | 767077 | 41345409 | 12443295
25 | Initial fuel inventory | 279724434
26 | Miscellaneous Equipment | 25655316 | 8372438 | 278805 | 15110212 | 2172665
28 | Simulator | 78200
| 20s - Subtotal | 1517766756
| 20s - $/kWe | 4883
30 | Capitalized Indirect Services Costs
31 | Factory & Field Indirect Costs | 146051997
32 | Factory and construction supervision | 506256125
33 | Start-Up Costs | 21298226
34 | Shipping & Transportation Costs | 1793334
35 | Engineering Services | 136778270
| 30s - Subtotal | 812177951
| 30s - $/kWe | 2613
50 | Capitalized Supplementary Costs
51 | Taxes | 3510602
52 | Insurance | 10484751
54 | Decommissioning | 14606673
| 50s - Subtotal | 28602027
| 50s - $/kWe | 92
60 | Capitalized Financial Costs
62 | Interest | 592300800
| 60s - Subtotal | 592300800
| 60s - $/kWe | 1906
| Total Direct Capital Cost (Accounts 10 to 20) | 1596758321
| (Accounts 10 to 20) US$/kWe | 5138
| Base Construction Cost (Accounts 10 to 30) | 2408936272
| (Accounts 10 to 30) US$/kWe | 7751
| Total Overnight Cost (Accounts 10 to 50) | 2437538300
| (Accounts 10 to 50) US$/kWe | 7843
| Total Capital Investment Cost (All Accounts) | 3029839099
| (Accounts 10 to 60) US$/kWe | 9749
| Total Overnight Cost - ITC reduced | 2437538300
| Total Overnight Cost -ITC reduced (US$/kWe) | 7843
| Total Capital Investment Cost - ITC reduced | 3029839099
| Total Capital Investment Cost - ITC reduced (US$/kWe) | 9749

## Ref Spending Curve
Month | Duration | CDF | PDF
0 | 0 | 0.013964 | 0.013964
1 | 0.022727 | 0.027928 | 0.013964
2 | 0.045455 | 0.054072 | 0.026145
3 | 0.068182 | 0.080217 | 0.026145
4 | 0.090909 | 0.13364 | 0.053422
5 | 0.11364 | 0.20363 | 0.069988
6 | 0.13636 | 0.25705 | 0.053425
7 | 0.15909 | 0.30012 | 0.043069
8 | 0.18182 | 0.32352 | 0.023401
9 | 0.20455 | 0.35457 | 0.031053
10 | 0.22727 | 0.38981 | 0.035237
11 | 0.25 | 0.4275 | 0.037687
12 | 0.27273 | 0.46481 | 0.037307
13 | 0.29545 | 0.49515 | 0.030345
14 | 0.31818 | 0.53925 | 0.044101
15 | 0.34091 | 0.57354 | 0.034289
16 | 0.36364 | 0.61258 | 0.039043
17 | 0.38636 | 0.66833 | 0.05574
18 | 0.40909 | 0.71283 | 0.044503
19 | 0.43182 | 0.75945 | 0.046623
20 | 0.45455 | 0.80572 | 0.046272
21 | 0.47727 | 0.85246 | 0.046739
22 | 0.5 | 0.87463 | 0.022167
23 | 0.52273 | 0.88484 | 0.010215
24 | 0.54545 | 0.89515 | 0.010311
25 | 0.56818 | 0.90241 | 0.007256
26 | 0.59091 | 0.90967 | 0.007256
27 | 0.61364 | 0.91689 | 0.0072239
28 | 0.63636 | 0.92399 | 0.0071003
29 | 0.65909 | 0.92931 | 0.00532
30 | 0.68182 | 0.93463 | 0.00532
31 | 0.70455 | 0.93981 | 0.0051756
32 | 0.72727 | 0.94459 | 0.0047815
33 | 0.75 | 0.95012 | 0.0055301
34 | 0.77273 | 0.95542 | 0.0053017
35 | 0.79545 | 0.96075 | 0.0053268
36 | 0.81818 | 0.96594 | 0.0051917
37 | 0.84091 | 0.97111 | 0.0051679
38 | 0.86364 | 0.97622 | 0.0051093
39 | 0.88636 | 0.98096 | 0.004745
40 | 0.90909 | 0.98571 | 0.004745
41 | 0.93182 | 0.98991 | 0.0042078
42 | 0.95455 | 0.99399 | 0.0040731
43 | 0.97727 | 0.99705 | 0.003064
44 | 1 | 1 | 0.0029497